## FinalTo
Scan Number | Nodule Center x,y Position* | Nodule Center Image | Diagnosis
CT-Training-lc001 | 120, 325 | 135 | malignant
CT-Training-lc002 | 139, 359 | 70 | malignant
CT-Training-lc003 | 375, 323 | 70 | malignant
CT-Training-lc008 | 95, 328 | 65 | malignant
CT-Training-lc009 | 145, 299 | 63 | malignant
CT-Training-be001 | 405, 296 | 169 | benign
CT-Training-be002 | 184, 268 | 117 | benign
CT-Training-be006 | 449, 266 | 241 | benign
CT-Training-be007 | 385, 206 | 194 | benign
CT-Training-be010 | 120, 336 | 69 | benign
*specified in pixels, where position (1,1) corresponds to the upper-leftmost pixel in an image; x increases with column to the right, and y increases with row going down
All images are in DICOM format with a matrix size of 512x512 pixels.
Note that the number in an image file name does NOT correspond to the slice number of that image. To explain further, each CT scan consists of individual images ("CT sections"), with each image in DICOM format. The name of an individual image file in this dataset is derived from a unique identifier ("UID") that is assigned according to the DICOM standard; consequently, these file names are not assigned with any consideration of anatomic order, and displaying or processing the images ordered by file name likely will not produce the expected result. To achieve a proper anatomy-based sequencing of the images, image files within a CT scan must be sorted by DICOM tag (0020,0013), which the DICOM standard refers to as "Instance Number" (more commonly known as CT section (or slice) number). DICOM tags are elements of the header of a DICOM image and contain important metadata regarding clinical image acquisition (http://medical.nema.org/standard.html). "Nodule Center Image" in column C refers to the "Instance Number" of the image that demonstrates the largest extent of the nodule under consideration.
Publicly available DICOM readers/viewers, which can be used to read and display both the DICOM header and the corresponding image, are available online.